## MAXREFDEF104_COMPLETE
Index | Manufacture Part Number | Manufacturer Name | Description | Assembly qty | Quantity per | Purchase Qt. | Unit Price | Total Price | MOQ | Lead time | Shipment Origin | Incoterms | Payment terms | Datasheet
1 | GRM033C81E104KE14D | Murata Electronics | CAP CER 0.1UF 25V X6S 0201 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM033C81E104KE14-01.pdf
2 | MAX30208CLB+ | Analog Devices Inc./Maxim Integrated | IC TEMP SENSOR | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.analog.com/media/en/technical-documentation/data-sheets/MAX30208.pdf
3 | MAX30208_HSP3_DEMO_B | Analog Devices Inc./Maxim Integrated | PCB:MAX30208_HSP3_DEMO_B | 50 | 1 | 50 | 0 | 0
4 | GRM188R61E106MA73J | Murata Electronics | CAP CER 10UF 25V X5R 0603 | 50 | 5 | 250 | 0 | 0 | [5 empty] | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM188R61E106MA73-01.pdf
5 | GRM188R72A104KA35J | Murata Electronics | CAP CER 0.1UF 100V X7R 0603 | 50 | 3 | 150 | 0 | 0 | [5 empty] | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM188R72A104KA35-01.pdf
6 | GRM155R61A106ME11J | Murata Electronics | CAP CER 10UF 10V X5R 0402 | 50 | 3 | 150 | 0 | 0 | [5 empty] | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM155R61A106ME11-01A.pdf
7 | C0603C105K3RAC7867 | KEMET | CAP CER 1UF 25V X7R 0603 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://connect.kemet.com:7667/gateway/IntelliData-ComponentDocumentation/1.0/download/datasheet/C0603C105K3RACTU
8 | GRM033R61A104KE15J | Murata Electronics | CAP CER 0.1UF 10V X5R 0201 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM033R61A104KE15-01A.pdf
9 | CL05A105KO5NNNC | Samsung Electro-Mechanics | CAP CER 1UF 16V X5R 0402 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://media.digikey.com/pdf/Data%20Sheets/Samsung%20PDFs/CL05A105KO5NNNC_Spec_5-2-19.pdf
10 | C0603X7R1A103K030BA | TDK Corporation | CAP CER 10000PF 10V X7R 0201 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
11 | SFH 7016 | ams-OSRAM USA INC. | CHIP LED | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://dammedia.osram.info/media/resource/hires/osram-dam-16417795/SFH%207016_EN.pdf
12 | 1981061-1 | TE Connectivity AMP Connectors | CONN SPRING BATTERY 3POS R/A SMD | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.te.com/usa-en/product-1981061-1.datasheet.pdf
13 | 10061122-251120HLF | Amphenol ICC (FCI) | CONN FPC BOTTOM 25POS 0.3MM R/A | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.amphenol-cs.com/media/wysiwyg/files/drawing/10061122.pdf
14 | CRCW02010000Z0ED | Vishay Dale | RES SMD 0 OHM JUMPER 1/20W 0201 | 50 | 5 | 250 | 0 | 0 | [5 empty] | https://www.vishay.com/docs/20052/crcw0201e3.pdf
15 | ERJ-2GE0R00X | Panasonic Electronic Components | RES SMD 0 OHM JUMPER 1/10W 0402 | 50 | 5 | 250 | 0 | 0 | [5 empty] | https://industrial.panasonic.com/ww/products/pt/general-purpose-chip-resistors/models/ERJ2GE0R00X
16 | ERJ-2RKF1002X | Panasonic Electronic Components | RES SMD 10K OHM 1% 1/10W 0402 | 50 | 2 | 100 | 0 | 0 | [5 empty] | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
17 | ERJ-2RKF1003X | Panasonic Electronic Components | RES SMD 100K OHM 1% 1/10W 0402 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
18 | MAX86176ENX+T | Analog Devices Inc./Maxim Integrated | PPG + ECG COMBO AFE | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://br.mouser.com/ProductDetail/Analog-Devices-Maxim-Integrated/MAX86176ENX%2bT?qs=81r%252BiQLm7BSTr%2FxxCB0Bvg%3D%3D
19 | VEMD8080 | Vishay Semiconductor Opto Division | PHOTODIODE 780 TO 1050 NM | 50 | 3 | 150 | 0 | 0 | [5 empty] | https://www.vishay.com/docs/84565/vemd8080.pdf
20 | LIS2DS12TR | STMicroelectronics | ACCEL 2-16G I2C/SPI 12LGA | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.st.com/content/ccc/resource/technical/document/datasheet/ce/32/55/ac/e1/87/46/84/DM00177048.pdf/files/DM00177048.pdf/jcr:content/translations/en.DM00177048.pdf
21 | SIT1572AI-J3-18E-DCC-32.768E | SiTime | MEMS OSC XO 32.7680KHZ LVCMOS | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.sitime.com/datasheet/SiT1572
22 | 2450AT18D0100001E | Johanson Technology Inc. | RF ANT 2.4GHZ CHIP SOLDER SMD | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.johansontechnology.com/datasheets/2450AT18D0100/2450AT18D0100.pdf
23 | C1005X7R1H104K050BB | TDK Corporation | CAP CER 0.1UF 50V X7R 0402 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
24 | C1005X5R1V225K050BC | TDK Corporation | CAP CER 2.2UF 35V X5R 0402 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
25 | C1005X5R0J475K050BC | TDK Corporation | CAP CER 4.7UF 6.3V X5R 0402 | 50 | 4 | 200 | 0 | 0 | [5 empty] | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
26 | C1005X5R0J225K050BC | TDK Corporation | CAP CER 2.2UF 6.3V X5R 0402 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
27 | GRM0335C1H160JA01D | Murata Electronics | CAP CER 16PF 50V C0G/NP0 0201 | 50 | 2 | 100 | 0 | 0 | [5 empty] | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM0335C1H160JA01-01.pdf
28 | GRM188R61E106MA73J | Murata Electronics | CAP CER 10UF 25V X5R 0603 | 50 | 7 | 350 | 0 | 0 | [5 empty] | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM188R61E106MA73-01.pdf
29 | GRM033R61A105ME15J | Murata Electronics | CAP CER MLCC | 50 | 3 | 150 | 0 | 0
30 | GRM033C71C104KE14J | Murata Electronics | CAP CER 0.1UF 16V X7S 0201 | 50 | 7 | 350 | 0 | 0 | [5 empty] | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM033C71C104KE14-01A.pdf
31 | GRM21BR61A476ME15K | Murata Electronics | CAP CER 47UF 10V X5R 0805 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://media.digikey.com/pdf/Data%20Sheets/Murata%20PDFs/Chip_Multilayer_CC_CAT.pdf
32 | GRM033R61E472MA12D | Murata Electronics | CAP CER 4700PF 25V X5R 0201 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM033R61E472MA12-01.pdf
33 | C0402C105K8PAC7867 | KEMET | CAP CER 1UF 10V X5R 0402 | 50 | 14 | 700 | 0 | 0 | [5 empty] | https://connect.kemet.com:7667/gateway/IntelliData-ComponentDocumentation/1.0/download/datasheet/C0402C105K8PACTU
34 | CL10A226MO7JZNC | Samsung Electro-Mechanics | CAP CER 22UF 16V X5R 0603 | 50 | 7 | 350 | 0 | 0 | [5 empty] | https://media.digikey.com/pdf/Data%20Sheets/Samsung%20PDFs/CL10A226MO7JZNC_Spec.pdf
35 | GRM033C81A105ME05D | Murata Electronics | CAP CER 1UF 10V X6S 0201 | 50 | 3 | 150 | 0 | 0 | [5 empty] | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM033C81A105ME05-01.pdf
36 | GRM033R71A472KA01D | Murata Electronics | CAP CER 4700PF 10V X7R 0201 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM033R71A472KA01-01.pdf
37 | GRM033R61C104KE14D | Murata Electronics | CAP CER 0.1UF 16V X5R 0201 | 50 | 5 | 250 | 0 | 0 | [5 empty] | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM033R61C104KE14-01.pdf
38 | C1005X5R1V105K050BC | TDK Corporation | CAP CER 1UF 35V X5R 0402 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
39 | C0603X5R1E104M030BB | TDK Corporation | CAP CER 0.1UF 25V X5R 0201 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
40 | KGM05AR51E103KH | KYOCERA AVX | CAP CER 10000PF 25V X5R 0402 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://datasheets.kyocera-avx.com/cx5r.pdf
41 | C0603X5R1A104K030BC | TDK Corporation | CAP CER 0.1UF 10V X5R 0201 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
42 | APFA2507QBDSEEZGKC | Kingbright | LED RGB CLEAR 4SMD R/A | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.KingbrightUSA.com/images/catalog/SPEC/APFA2507QBDSEEZGKC.pdf
43 | SML-LX0404SIUPGUSB | Lumex Opto/Components Inc. | LED RGB CLEAR SMD | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://media.digikey.com/pdf/Data%20Sheets/Lumex%20PDFs/SML-LX0404SIUPGUSB.pdf
44 | TF13BA-6S-0.4SH(800) | Hirose Electric Co Ltd | CONN FPC BOTTOM 6POS 0.4MM R/A | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.hirose.com/product/download/?distributor=digikey&type=specSheet&lang=en&num=TF13BA-6S-0.4SH(800)
45 | FH26W-25S-0.3SHW(60) | Hirose Electric Co Ltd | CONN FPC BOTTOM 25POS 0.3MM R/A | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.hirose.com/product/download/?distributor=digikey&type=specSheet&lang=en&num=FH26W-25S-0.3SHW(60)
46 | DX07S024JJ3R1300 | JAE Electronics | CONN RCP USB3.1 TYPEC 24P SMD RA | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.jae.com/direct/page/generatePDF/?file_nm=DX07S024JJ3R1300.pdf&orientation=portrait&no_cache=0&path=%2Fen%2Fconnectors%2Fseries%2Fdetail%2Fproduct%2Fid%3D66509%26v=2020031910202910099709
47 | DFE201612E-2R2M=P2 | Murata Electronics | FIXED IND 2.2UH 1.8A 116MOHM SMD | 50 | 4 | 200 | 0 | 0 | [5 empty] | https://search.murata.co.jp/Ceramy/image/img/P02/J(E)TE243A-0006.pdf
48 | MLP2012H2R2MT0S1 | TDK Corporation | FIXED IND 2.2UH 1A 195 MOHM SMD | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://product.tdk.com/en/system/files?file=dam/doc/product/inductor/inductor/smd/catalog/inductor_commercial_power_mlp2012_en.pdf
49 | BLM21PG221SN1D | Murata Electronics | FERRITE BEAD 220 OHM 0805 1LN | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.murata.com/en-us/products/en-us/products/productdata/8796738977822/ENFA0005.pdf
50 | HZ1206C202R-10 | Laird-Signal Integrity Products | FERRITE BEAD 2 KOHM 1206 1LN | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://media.digikey.com/pdf/Data%20Sheets/Laird%20Technologies/Ferrite_EMI_Cable_Cores.pdf
51 | ERJ-2GE0R00X | Panasonic Electronic Components | RES SMD 0 OHM JUMPER 1/10W 0402 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://industrial.panasonic.com/ww/products/pt/general-purpose-chip-resistors/models/ERJ2GE0R00X
52 | ERJ-1GNF5101C | Panasonic Electronic Components | RES SMD 5.1K OHM 1% 1/20W 0201 | 50 | 2 | 100 | 0 | 0 | [5 empty] | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
53 | ERJ-1GNF27R0C | Panasonic Electronic Components | RES SMD 27 OHM 1% 1/20W 0201 | 50 | 2 | 100 | 0 | 0 | [5 empty] | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
54 | ERJ-1GNF4701C | Panasonic Electronic Components | RES SMD 4.7K OHM 1% 1/20W 0201 | 50 | 3 | 150 | 0 | 0 | [5 empty] | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
55 | ERJ-2GEJ103X | Panasonic Electronic Components | RES SMD 10K OHM 5% 1/10W 0402 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://api.pim.na.industrial.panasonic.com/file_stream/main/fileversion/1242
56 | ERJ-2LWFR010X | Panasonic Electronic Components | RES 0.01 OHM 1% 1/5W 0402 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://industrial.panasonic.com/cdbs/www-data/pdf/RDN0000/AOA0000C313.pdf
57 | ERJ-1GNF3301C | Panasonic Electronic Components | RES SMD 3.3K OHM 1% 1/20W 0201 | 50 | 4 | 200 | 0 | 0 | [5 empty] | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
58 | ERJ-1GNJ103C | Panasonic Electronic Components | RES SMD 10K OHM 5% 1/20W 0201 | 50 | 3 | 150 | 0 | 0 | [5 empty] | https://api.pim.na.industrial.panasonic.com/file_stream/main/fileversion/1242
59 | ERJ-1GN0R00C | Panasonic Electronic Components | RES SMD 0 OHM JUMPER 1/20W 0201 | 50 | 27 | 1350 | 0 | 0 | [5 empty] | https://industrial.panasonic.com/ww/products/pt/general-purpose-chip-resistors/models/ERJ1GN0R00C
60 | ERJ-2RKF1004X | Panasonic Electronic Components | RES SMD 1M OHM 1% 1/10W 0402 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
61 | ERJ-1GNF10R0C | Panasonic Electronic Components | RES SMD 10 OHM 1% 1/20W 0201 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
62 | CRCW04024K70FKEDHP | Vishay Dale | RES SMD 4.7K OHM 1% 1/5W 0402 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.vishay.com/docs/20043/crcwhpe3.pdf
63 | ERJ-2GEJ220X | Panasonic Electronic Components | RES SMD 22 OHM 5% 1/10W 0402 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://api.pim.na.industrial.panasonic.com/file_stream/main/fileversion/1242
64 | CRCW040210K0FKEE | Vishay Dale | RES SMD 10K OHM 1% 1/16W 0402 | 50 | 7 | 350 | 0 | 0 | [5 empty] | https://www.vishay.com/docs/20035/dcrcwe3.pdf
65 | TNPW04021K00BETD | Vishay Dale | RES 1K OHM 0.1% 1/16W 0402 | 50 | 3 | 150 | 0 | 0 | [5 empty] | https://www.vishay.com/docs/31006/tnpw.pdf
66 | PNM0402E2502BST1 | Vishay Dale Thin Film | RES SMD 25K OHM 0.1% 1/20W 0402 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.vishay.com/docs/60057/pnm.pdf
67 | NCP03XH103J05RL | Murata Electronics | THERMISTOR NTC 10KOHM 3380K 0201 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://media.digikey.com/pdf/Data Sheets/Murata PDFs/NCP03 Spec.pdf
68 | 434153017835 | Würth Elektronik | SWITCH TACTILE SPST-NO 0.05A 12V | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.we-online.com/katalog/datasheet/434153017835.pdf
69 | EVP-AA102K | Panasonic Electronic Components | SWITCH TACTILE SPST-NO 0.02A 15V | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www3.panasonic.biz/ac/cdn/e/control/switch/light-touch/catalog/sw_lt_eng_3529s.pdf
70 | MAX20360FEWZ+T | Analog Devices Inc./Maxim Integrated | EVKIT PART- IC; PMIC WITH ULTRA-LOW IQ REGULATOR | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://br.mouser.com/ProductDetail/Analog-Devices-Maxim-Integrated/MAX20360FEWZ%2bT?qs=doiCPypUmgE5qUte5drm%2FA%3D%3D
71 | MAX32670GTL+ | Analog Devices Inc./Maxim Integrated | IC MCU 32BIT 384KB FLASH 40TQFN | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://datasheets.maximintegrated.com/en/ds/MAX32670.pdf
72 | MX25U51245GZ4I54 | Macronix | IC FLASH 512MBIT SPI/QUAD 8WSON | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.macronix.com/Lists/Datasheet/Attachments/8410/MX25U51245G,%201.8V,%20512Mb,%20v1.2.pdf
73 | MAX32666GXMBT+ | Analog Devices Inc./Maxim Integrated | IC MCU 32BIT 1MB FLASH 121CTBGA | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.analog.com/media/en/technical-documentation/data-sheets/max32665-max32666.pdf
74 | MAX9062EBS+TG45 | Analog Devices Inc./Maxim Integrated | IC COMPARATOR 1 W/VOLT REF 4UCSP | 50 | 2 | 100 | 0 | 0 | [5 empty] | https://www.analog.com/media/en/technical-documentation/data-sheets/max9060-max9064.pdf
75 | MAX3207EAUT+T | Analog Devices Inc./Maxim Integrated | TVS DIODE SOT23-6 | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.analog.com/media/en/technical-documentation/data-sheets/MAX3205E-MAX3208E.pdf
76 | MAX4737EBE+T | Analog Devices Inc./Maxim Integrated | IC SW SPST-NOX4 4.5OHM 16UCSP | 50 | 2 | 100 | 0 | 0 | [5 empty] | https://www.analog.com/media/en/technical-documentation/data-sheets/MAX4737-MAX4739.pdf
77 | MAX14689EWL+T | Analog Devices Inc./Maxim Integrated | IC SWITCH DPDT X 1 450MOHM 9WLP | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.analog.com/media/en/technical-documentation/data-sheets/MAX14689.pdf
78 | ABS07-32.768KHZ-6-T | Abracon LLC | CRYSTAL 32.7680KHZ 6PF SMD | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://abracon.com/Resonators/ABS07.pdf
79 | FA-20H 32.0000MF12Y-W3 | EPSON | CRYSTAL 32.0000MHZ 12PF SMD | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://support.epson.biz/td/api/doc_check.php?dl=brief_FA-20H&lang=en
80 | CM1610H32768DZBT | Citizen Finedevice Co Ltd | CRYSTAL 32.7680KHZ 6PF SMD | 50 | 1 | 50 | 0 | 0 | [5 empty] | http://cfd.citizen.co.jp/cms/cfd/pdf/english/CM1610H_E.pdf
81 | 63048 | EX-POWER | Battery pack 800mAh 04x30x42 | 50 | 1 | 50 | 0 | 0 | [5 empty] | http://www.valvolandia.com.br/baterias/li-po/3-7v-800mah-li-po/bateria-3-7v-800mah-li-on-recarregavel-6x30x48mm-com-conector
82 | 150150225 | Molex | Host board to sensor board flex cable | 50 | 1 | 50 | 0 | 0 | [5 empty] | https://www.digikey.com.br/en/products/detail/molex/0150150225/3467249
0
[7 empty] | FOB | 0
[7 empty] | est. USD CIF | 0
[7 empty] | est. Unit BRL | 0

## EPE quotation 220 units
Index | Manufacture Part Number | Manufacturer Name | Description | PROPOSED ALTERNATIVE | Assembly qty | Quantity per | Purchase Qt. | Unit Price | Total | Total Price (200) | SPQ | Lead time @ 1/7/23 | STD LT | Shipment Origin | Incoterms | Payment terms | Analise dos Precos | % MOQ mais barato do que 220 units
1 | GRM033C81E104KE14D | Murata Electronics | CAP CER 0.1UF 25V X6S 0201 |  | 220 | 1 | 2500 | 0.0765 | 191.25 | $16.83 | 15000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 0.0665 | 665%
2 | MAX30208CLB+ | Analog Devices Inc./Maxim Integrated | IC TEMP SENSOR | MAX30208CLB+T | 220 | 1 | 2080 | 5.32 | 11065.6 | $1,170.40 | 2500 | 7 Days | 378 | USA | FCA MIA | NET 30 | 1.8 | 51.14%
3 | MAX30208_HSP3_DEMO_B | Analog Devices Inc./Maxim Integrated | PCB:MAX30208_HSP3_DEMO_B | UNABLE TO IDENTIFY | 220 | 1 | 2020 |  | 0 | $- | [6 empty] | 0 | #DIV/0!
4 | GRM188R61E106MA73J | Murata Electronics | CAP CER 10UF 25V X5R 0603 |  | 220 | 5 | 11000 | 0.0969 | 1065.9 | $106.59 | 10000 | 7 Days | 70 | USA | FCA MIA | NET 30 | 0.0169 | 21.12%
5 | GRM188R72A104KA35J | Murata Electronics | CAP CER 0.1UF 100V X7R 0603 |  | 220 | 3 | 6600 | 0.0867 | 572.22 | $57.22 | 10000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 0.0367 | 73.4%
6 | GRM155R61A106ME11J | Murata Electronics | CAP CER 10UF 10V X5R 0402 | GRM155R61A106ME11D | 220 | 3 | 6600 | 0.0697 | 460.02 | $46.00 | 40000 | 7 Days | 84 | USA | FCA MIA | NET 30 | 0.0397 | 132.3%
7 | C0603C105K3RAC7867 | KEMET | CAP CER 1UF 25V X7R 0603 | C0603C105K3RACTU | 220 | 1 | 2200 | 0.2142 | 471.24 | $47.12 | 15000 | 7 Days | 273 | USA | FCA MIA | NET 30 | 0.1442 | 206%
8 | GRM033R61A104KE15J | Murata Electronics | CAP CER 0.1UF 10V X5R 0201 |  | 220 | 1 | 2200 | 0.0612 | 134.64 | $13.46 | 50000 | 7 Days | 83 | USA | FCA MIA | NET 30 | 0.0578 | 1700%
9 | CL05A105KO5NNNC | Samsung Electro-Mechanics | CAP CER 1UF 16V X5R 0402 |  | 220 | 1 | 2200 | 0.085 | 187 | $18.70 | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 0.075 | 750%
10 | C0603X7R1A103K030BA | TDK Corporation | CAP CER 10000PF 10V X7R 0201 |  | 220 | 1 | 2200 | 0.0952 | 209.44 | $20.94 | 15000 | 7 Days | 182 | USA | FCA MIA | NET 30 | 0.0752 | 376%
11 | SFH 7016 | ams-OSRAM USA INC. | CHIP LED |  | 220 | 1 | 2200 | 1.7459 | 3840.98 | $384.10 | 3000 | 7 Days | 112 | USA | FCA MIA | NET 30 | 0.5059 | 40.8%
12 | 1981061-1 | TE Connectivity AMP Connectors | CONN SPRING BATTERY 3POS R/A SMD |  | 220 | 1 | 2200 | 3.893 | 8564.6 | $856.46 | 400 | 7 Days | 112 | USA | FCA MIA | NET 30 | 0.593 | 17.97%
13 | 10061122-251120HLF | Amphenol ICC (FCI) | CONN FPC BOTTOM 25POS 0.3MM R/A | End of Life | 220 | 1 | 2200 | 0.493 | 1084.6 | $108.46 | 2000 | 7 Days | 84 | USA | FCA MIA | NET 30 | 0.143 | 40.86%
14 | CRCW02010000Z0ED | Vishay Dale | RES SMD 0 OHM JUMPER 1/20W 0201 |  | 220 | 5 | 11000 | 0.0221 | 243.1 | $24.31 | 10000 | 7 Days | 188 | USA | FCA MIA | NET 30 | 0.0121 | 121%
15 | ERJ-2GE0R00X | Panasonic Electronic Components | RES SMD 0 OHM JUMPER 1/10W 0402 |  | 220 | 5 | 11000 | 0.017 | 187 | $18.70 | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 0.007 | 70%
16 | ERJ-2RKF1002X | Panasonic Electronic Components | RES SMD 10K OHM 1% 1/10W 0402 |  | 220 | 2 | 4400 | 0.0391 | 172.04 | $17.20 | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 0.0291 | 291%
17 | ERJ-2RKF1003X | Panasonic Electronic Components | RES SMD 100K OHM 1% 1/10W 0402 |  | 220 | 1 | 2200 | 0.0663 | 145.86 | $14.59 | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 0.0563 | 563%
18 | MAX86176ENX+T | Analog Devices Inc./Maxim Integrated | PPG + ECG COMBO AFE |  | 220 | 1 | 2080 | 12.3494 | 25686.752 | $2,716.87 | 2500 | 7 Days | 172 | USA | FCA MIA | NET 30 | 0.1794 | 1.474%
19 | VEMD8080 | Vishay Semiconductor Opto Division | PHOTODIODE 780 TO 1050 NM |  | 220 | 3 | 6600 | 1.751 | 11556.6 | $1,155.66 | 5000 | 7 Days | 35 | USA | FCA MIA | NET 30 | 0.311 | 21.6%
20 | LIS2DS12TR | STMicroelectronics | ACCEL 2-16G I2C/SPI 12LGA |  | 220 | 1 | 2200 | 1.7425 | 3833.5 | $383.35 | 8000 | 7 Days | 105 | USA | FCA MIA | NET 30 | 0 | 0%
21 | SIT1572AI-J3-18E-DCC-32.768E | SiTime | MEMS OSC XO 32.7680KHZ LVCMOS |  | 220 | 1 | 2200 | 2.4514 | 5393.08 | $539.31 | 1000 | 7 Days | 42 | USA | FCA MIA | NET 30 | 0.4514 | 22.57%
22 | 2450AT18D0100001E | Johanson Technology Inc. | RF ANT 2.4GHZ CHIP SOLDER SMD |  | 220 | 1 | 2200 | 0.7973 | 1754.06 | $175.41 | 3000 | 7 Days | 70 | USA | FCA MIA | NET 30 | 0.3573 | 81.2%
23 | C1005X7R1H104K050BB | TDK Corporation | CAP CER 0.1UF 50V X7R 0402 |  | 220 | 1 | 2200 | 0.0969 | 213.18 | $21.32 | 10000 | 7 Days | 210 | USA | FCA MIA | NET 30 | 0.0769 | 384.5%
24 | C1005X5R1V225K050BC | TDK Corporation | CAP CER 2.2UF 35V X5R 0402 |  | 220 | 1 | 2200 | 0.2006 | 441.32 | $44.13 | 10000 | 7 Days | 168 | USA | FCA MIA | NET 30 | 0.1106 | 122.9%
25 | C1005X5R0J475K050BC | TDK Corporation | CAP CER 4.7UF 6.3V X5R 0402 |  | 220 | 4 | 8800 | 0.2057 | 1810.16 | $181.02 | 10000 | 7 Days | 168 | USA | FCA MIA | NET 30 | 0.0757 | 58.23%
26 | C1005X5R0J225K050BC | TDK Corporation | CAP CER 2.2UF 6.3V X5R 0402 |  | 220 | 1 | 2200 | 0.1275 | 280.5 | $28.05 | 10000 | 7 Days | 252 | USA | FCA MIA | NET 30 | 0.0775 | 155%
27 | GRM0335C1H160JA01D | Murata Electronics | CAP CER 16PF 50V C0G/NP0 0201 |  | 220 | 2 | 4400 | 0.034 | 149.6 | $14.96 | 15000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 0.0306 | 900%
28 | GRM188R61E106MA73J | Murata Electronics | CAP CER 10UF 25V X5R 0603 |  | 220 | 7 | 11000 | 0.0969 | 1065.9 | $149.23 | 10000 | 7 Days | 70 | USA | FCA MIA | NET 30 | 0.0169 | 21.12%
29 | GRM033R61A105ME15J | Murata Electronics | CAP CER MLCC |  | 220 | 3 | 6600 | 0.1785 | 1178.1 | $117.81 | 50000 | 7 Days | 134 | USA | FCA MIA | NET 30 | 0.0785 | 78.5%
30 | GRM033C71C104KE14J | Murata Electronics | CAP CER 0.1UF 16V X7S 0201 |  | 220 | 7 | 15400 | 0.0187 | 287.98 | $28.80 | 50000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 0.0087 | 87%
31 | GRM21BR61A476ME15K | Murata Electronics | CAP CER 47UF 10V X5R 0805 |  | 220 | 1 | 2200 | 0.4199 | 923.78 | $92.38 | 10000 | 7 Days | 112 | USA | FCA MIA | NET 30 | 0.1699 | 67.96%
32 | GRM033R61E472MA12D | Murata Electronics | CAP CER 4700PF 25V X5R 0201 |  | 220 | 1 | 2200 | 0.0595 | 130.9 | $13.09 | 15000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 0.0561 | 1650%
33 | C0402C105K8PAC7867 | KEMET | CAP CER 1UF 10V X5R 0402 | C0402C105K8PACTU | 220 | 14 | 22000 | 0.0238 | 523.6 | $73.30 | 50000 | 7 Days | 252 | USA | FCA MIA | NET 30 | 0.0038 | 19%
34 | CL10A226MO7JZNC | Samsung Electro-Mechanics | CAP CER 22UF 16V X5R 0603 |  | 220 | 7 | 15400 | 0.3077 | 4738.58 | $473.86 | 4000 | 7 Days | 142 | USA | FCA MIA | NET 30 | 0.0277 | 9.893%
35 | GRM033C81A105ME05D | Murata Electronics | CAP CER 1UF 10V X6S 0201 |  | 220 | 3 | 6600 | 0.2567 | 1694.22 | $169.42 | 15000 | 7 Days | 112 | USA | FCA MIA | NET 30 | 0.1467 | 133.4%
36 | GRM033R71A472KA01D | Murata Electronics | CAP CER 4700PF 10V X7R 0201 |  | 220 | 1 | 2200 | 0.0595 | 130.9 | $13.09 | 15000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 0.0561 | 1650%
37 | GRM033R61C104KE14D | Murata Electronics | CAP CER 0.1UF 16V X5R 0201 |  | 220 | 5 | 4400 | 0.0238 | 104.72 | $26.18 | 15000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 0.0138 | 138%
38 | C1005X5R1V105K050BC | TDK Corporation | CAP CER 1UF 35V X5R 0402 |  | 220 | 1 | 2200 | 0.1207 | 265.54 | $26.55 | 10000 | 7 Days | 196 | USA | FCA MIA | NET 30 | 0.0807 | 201.8%
39 | C0603X5R1E104M030BB | TDK Corporation | CAP CER 0.1UF 25V X5R 0201 |  | 220 | 1 | 2200 | 0.0901 | 198.22 | $19.82 | 15000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 0.0701 | 350.5%
40 | KGM05AR51E103KH | KYOCERA AVX | CAP CER 10000PF 25V X5R 0402 |  | 220 | 1 | 2200 | 0.2295 | 504.9 | $50.49 | 10000 | 7 Days | 84 | USA | FCA MIA | NET 30 | 0.1395 | 155%
41 | C0603X5R1A104K030BC | TDK Corporation | CAP CER 0.1UF 10V X5R 0201 |  | 220 | 1 | 2200 | 0.0833 | 183.26 | $18.33 | 15000 | 7 Days | 182 | USA | FCA MIA | NET 30 | 0.0633 | 316.5%
42 | APFA2507QBDSEEZGKC | Kingbright | LED RGB CLEAR 4SMD R/A |  | 220 | 1 | 2200 | 0.8398 | 1847.56 | $184.76 | 3000 | 7 Days | 59 | USA | FCA MIA | NET 30 | 0.2998 | 55.52%
43 | SML-LX0404SIUPGUSB | Lumex Opto/Components Inc. | LED RGB CLEAR SMD |  | 220 | 1 | 2200 | 0.9792 | 2154.24 | $215.42 | 2000 | 7 Days | 154 | USA | FCA MIA | NET 30 | 0.2892 | 41.91%
44 | TF13BA-6S-0.4SH(800) | Hirose Electric Co Ltd | CONN FPC BOTTOM 6POS 0.4MM R/A |  | 220 | 1 | 2200 | 1.3056 | 2872.32 | $287.23 | 5000 | 7 Days | 196 | USA | FCA MIA | NET 30 | 0.3956 | 43.47%
45 | FH26W-25S-0.3SHW(60) | Hirose Electric Co Ltd | CONN FPC BOTTOM 25POS 0.3MM R/A |  | 220 | 1 | 2080 | 2.38 | 4950.4 | $523.60 | 5000 | 7 Days | 196 | USA | FCA MIA | NET 30 | 0.87 | 57.62%
46 | DX07S024JJ3R1300 | JAE Electronics | CONN RCP USB3.1 TYPEC 24P SMD RA |  | 220 | 1 | 2080 | 3.4527 | 7181.616 | $759.59 | 1300 | 7 Days | 72 | USA | FCA MIA | NET 30 | 0.9827 | 39.79%
47 | DFE201612E-2R2M=P2 | Murata Electronics | FIXED IND 2.2UH 1.8A 116MOHM SMD |  | 220 | 4 | 6600 | 0.3281 | 2165.46 | $288.73 | 3000 | 7 Days | 84 | USA | FCA MIA | NET 30 | 0.1181 | 56.24%
48 | MLP2012H2R2MT0S1 | TDK Corporation | FIXED IND 2.2UH 1A 195 MOHM SMD |  | 220 | 1 | 2200 | 0.3655 | 804.1 | $80.41 | 4000 | 7 Days | 280 | USA | FCA MIA | NET 30 | 0.1655 | 82.75%
49 | BLM21PG221SN1D | Murata Electronics | FERRITE BEAD 220 OHM 0805 1LN |  | 220 | 1 | 2200 | 0.1258 | 276.76 | $27.68 | 4000 | 7 Days | 112 | USA | FCA MIA | NET 30 | 0.0758 | 151.6%
50 | HZ1206C202R-10 | Laird-Signal Integrity Products | FERRITE BEAD 2 KOHM 1206 1LN |  | 220 | 1 | 2200 | 0.2448 | 538.56 | $53.86 | 3000 | 7 Days | 91 | USA | FCA MIA | NET 30 | 0.1248 | 104%
51 | ERJ-2GE0R00X | Panasonic Electronic Components | RES SMD 0 OHM JUMPER 1/10W 0402 |  | 220 | 1 | 11000 | 0.017 | 187 | $3.74 | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 0.007 | 70%
52 | ERJ-1GNF5101C | Panasonic Electronic Components | RES SMD 5.1K OHM 1% 1/20W 0201 |  | 220 | 2 | 4400 | 0.051 | 224.4 | $22.44 | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 0.041 | 410%
53 | ERJ-1GNF27R0C | Panasonic Electronic Components | RES SMD 27 OHM 1% 1/20W 0201 |  | 220 | 2 | 4400 | 0.051 | 224.4 | $22.44 | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 0.041 | 410%
54 | ERJ-1GNF4701C | Panasonic Electronic Components | RES SMD 4.7K OHM 1% 1/20W 0201 |  | 220 | 3 | 6600 | 0.0425 | 280.5 | $28.05 | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 0.0325 | 325%
55 | ERJ-2GEJ103X | Panasonic Electronic Components | RES SMD 10K OHM 5% 1/10W 0402 |  | 220 | 1 | 2200 | 0.0646 | 142.12 | $14.21 | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 0.0546 | 546%
56 | ERJ-2LWFR010X | Panasonic Electronic Components | RES 0.01 OHM 1% 1/5W 0402 |  | 220 | 1 | 2200 | 0.204 | 448.8 | $44.88 | 30000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 0.124 | 155%
57 | ERJ-1GNF3301C | Panasonic Electronic Components | RES SMD 3.3K OHM 1% 1/20W 0201 |  | 220 | 4 | 6600 | 0.0357 | 235.62 | $31.42 | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 0.0257 | 257%
58 | ERJ-1GNJ103C | Panasonic Electronic Components | RES SMD 10K OHM 5% 1/20W 0201 |  | 220 | 3 | 6600 | 0.0306 | 201.96 | $20.20 | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 0.0206 | 206%
59 | ERJ-1GN0R00C | Panasonic Electronic Components | RES SMD 0 OHM JUMPER 1/20W 0201 |  | 220 | 27 | 37400 | 0.0102 | 381.48 | $60.59 | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 0.0002 | 2%
60 | ERJ-2RKF1004X | Panasonic Electronic Components | RES SMD 1M OHM 1% 1/10W 0402 |  | 220 | 1 | 2200 | 0.0663 | 145.86 | $14.59 | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 0.0563 | 563%
61 | ERJ-1GNF10R0C | Panasonic Electronic Components | RES SMD 10 OHM 1% 1/20W 0201 |  | 220 | 1 | 2200 | 0.0765 | 168.3 | $16.83 | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 0.0665 | 665%
62 | CRCW04024K70FKEDHP | Vishay Dale | RES SMD 4.7K OHM 1% 1/5W 0402 |  | 220 | 1 | 2200 | 0.1003 | 220.66 | $22.07 | 10000 | 7 Days | 280 | USA | FCA MIA | NET 30 | 0.0803 | 401.5%
63 | ERJ-2GEJ220X | Panasonic Electronic Components | RES SMD 22 OHM 5% 1/10W 0402 |  | 220 | 1 | 2200 | 0.0646 | 142.12 | $14.21 | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 0.0546 | 546%
64 | CRCW040210K0FKEE | Vishay Dale | RES SMD 10K OHM 1% 1/16W 0402 |  | 220 | 7 | 11000 | 0.0204 | 224.4 | $31.42 | 50000 | 7 Days | 245 | USA | FCA MIA | NET 30 | 0.0104 | 104%
65 | TNPW04021K00BETD | Vishay Dale | RES 1K OHM 0.1% 1/16W 0402 |  | 220 | 3 | 4400 | 0.5848 | 2573.12 | $385.97 | 10000 | 7 Days | 121 | USA | FCA MIA | NET 30 | 0.1448 | 32.91%
66 | PNM0402E2502BST1 | Vishay Dale Thin Film | RES SMD 25K OHM 0.1% 1/20W 0402 |  | 220 | 1 | 2200 | 2.8407 | 6249.54 | $624.95 | 1000 | 7 Days | 641 | USA | FCA MIA | NET 30 | 1.1207 | 65.16%
67 | NCP03XH103J05RL | Murata Electronics | THERMISTOR NTC 10KOHM 3380K 0201 |  | 220 | 1 | 2600 | 0.2414 | 627.64 | $53.11 | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 0.1414 | 141.4%
68 | 434153017835 | Würth Elektronik | SWITCH TACTILE SPST-NO 0.05A 12V |  | 220 | 1 | 2200 | 0.9078 | 1997.16 | $199.72 | 4000 | 7 Days | 175 | USA | FCA MIA | NET 30 | 0.3078 | 51.3%
69 | EVP-AA102K | Panasonic Electronic Components | SWITCH TACTILE SPST-NO 0.02A 15V |  | 220 | 1 | 2200 | 1.1475 | 2524.5 | $252.45 | 5000 | 7 Days | 168 | USA | FCA MIA | NET 30 | 0.4075 | 55.07%
70 | MAX20360FEWZ+T | Analog Devices Inc./Maxim Integrated | EVKIT PART- IC; PMIC WITH ULTRA-LOW IQ REGULATOR |  | 220 | 1 | 2100 | 9 | 18900 | $18,000.00 | 2000 | 10 Days | 168 | USA | FCA MIA | NET 30 | 0 | 0%
71 | MAX32670GTL+ | Analog Devices Inc./Maxim Integrated | IC MCU 32BIT 384KB FLASH 40TQFN |  | 220 | 1 | 2100 | 4.508 | 9466.8 | $991.76 | 490 | 7 Days | 64 | USA | FCA MIA | NET 30 | 0 | 0%
72 | MX25U51245GZ4I54 | Macronix | IC FLASH 512MBIT SPI/QUAD 8WSON |  | 220 | 1 | 2100 | 9.786 | 20550.6 | $2,152.92 | 480 | 7 Days | 72 | USA | FCA MIA | NET 30 | 0 | 0%
73 | MAX32666GXMBT+ | Analog Devices Inc./Maxim Integrated | IC MCU 32BIT 1MB FLASH 121CTBGA |  | 220 | 1 | 2100 | 15.554 | 32663.4 | $3,421.88 | 348 | 7 Days | 210 | USA | FCA MIA | NET 30 | 0 | 0%
74 | MAX9062EBS+TG45 | Analog Devices Inc./Maxim Integrated | IC COMPARATOR 1 W/VOLT REF 4UCSP |  | 220 | 2 | 4320 | 2.1165 | 9143.28 | $931.26 | 2500 | 7 Days | 18 | USA | FCA MIA | NET 30 | 0.5565 | 35.67%
75 | MAX3207EAUT+T | Analog Devices Inc./Maxim Integrated | TVS DIODE SOT23-6 |  | 220 | 1 | 2120 | 2.1097 | 4472.564 | $464.13 | 2500 | 7 Days | 72 | USA | FCA MIA | NET 30 | 0.6797 | 47.53%
76 | MAX4737EBE+T | Analog Devices Inc./Maxim Integrated | IC SW SPST-NOX4 4.5OHM 16UCSP |  | 220 | 2 | 4240 | 4.473 | 18965.52 | $1,968.12 | 2500 | 7 Days | 84 | USA | FCA MIA | NET 30 | 0.103 | 2.357%
77 | MAX14689EWL+T | Analog Devices Inc./Maxim Integrated | IC SWITCH DPDT X 1 450MOHM 9WLP |  | 220 | 1 | 2200 | 2.9694 | 6532.68 | $653.27 | 2500 | 7 Days | 17 | USA | FCA MIA | NET 30 | 0.3294 | 12.48%
78 | ABS07-32.768KHZ-6-T | Abracon LLC | CRYSTAL 32.7680KHZ 6PF SMD |  | 220 | 1 | 2200 | 0.9401 | 2068.22 | $206.82 | 3000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 0.2601 | 38.25%
79 | FA-20H 32.0000MF12Y-W3 | EPSON | CRYSTAL 32.0000MHZ 12PF SMD |  | 220 | 1 | 2200 | 1.7051 | 3751.22 | $375.12 | 250 | 7 Days | 158 | USA | FCA MIA | NET 30 | 0.0551 | 3.339%
80 | CM1610H32768DZBT | Citizen Finedevice Co Ltd | CRYSTAL 32.7680KHZ 6PF SMD |  | 220 | 1 | 2200 | 1.4195 | 3122.9 | $312.29 | 5000 | 7 Days | 77 | USA | FCA MIA | NET 30 | 0.4195 | 41.95%
81 | 63048 | EX-POWER | Battery pack 800mAh 04x30x42 | Suggest Local order. | 220 | 1 | 2080 | 2.63 |  |  | 65 | 7 Days | 140 | BRAZIL | EXW CAMPINAS | NET 30 | 2.63 | #DIV/0!
82 | 150150225 | Molex | Host board to sensor board flex cable |  | 220 | 1 | 2400 | 3.9984 | 9596.16 | $879.65 | 1000 | 7 Days | 57 | USA | FCA MIA | NET 30 | 1.8384 | 85.11%
[19 empty] | LIS2DS12TR | 1.7425
[10 empty] | 270868.782 | [8 empty] | MAX32670GTL+ | 4.508
[19 empty] | MX25U51245GZ4I54 | 9.786
[8 empty] | FOB |  | 135.4344 | [8 empty] | MAX32666GXMBT+ | 15.554
[8 empty] | est. USD CIF |  | 216.695
[8 empty] | est. Unit BRL |  | 1040.1361

## EPE Quotation 50 units (hidden)
Index | Manufacture Part Number | Manufacturer Name | Description | PROPOSED ALTERNATIVE | Assembly qty | Quantity per | Purchase Qt. | Unit Price | Total Price | MOQ | Lead time | Shipment Origin | Incoterms | Payment terms | Datasheet
1 | GRM033C81E104KE14D | Murata Electronics | CAP CER 0.1UF 25V X6S 0201 |  | 50 | 1 | 50 | $0.29 | $14.26 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM033C81E104KE14-01.pdf
2 | MAX30208CLB+ | Analog Devices Inc./Maxim Integrated | IC TEMP SENSOR |  | 50 | 1 | 50 | $6.20 | $309.75 | 50 | 25 Days | USA | FCA MIA | NET 30 | https://www.analog.com/media/en/technical-documentation/data-sheets/MAX30208.pdf
3 | MAX30208_HSP3_DEMO_B | Analog Devices Inc./Maxim Integrated | PCB:MAX30208_HSP3_DEMO_B | UNABLE TO IDENTIFY | 50 | 1 | 50 |  | $- | 50 | 7 Days | USA | FCA MIA | NET 30
4 | GRM188R61E106MA73J | Murata Electronics | CAP CER 10UF 25V X5R 0603 |  | 50 | 5 | 250 | $0.14 | $35.88 | 250 | 7 Days | USA | FCA MIA | NET 30 | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM188R61E106MA73-01.pdf
5 | GRM188R72A104KA35J | Murata Electronics | CAP CER 0.1UF 100V X7R 0603 |  | 50 | 3 | 150 | $0.16 | $23.89 | 150 | 7 Days | USA | FCA MIA | NET 30 | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM188R72A104KA35-01.pdf
6 | GRM155R61A106ME11J | Murata Electronics | CAP CER 10UF 10V X5R 0402 | GRM155R61A106ME11D | 50 | 3 | 150 | $0.15 | $22.58 | 150 | 7 Days | USA | FCA MIA | NET 30 | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM155R61A106ME11-01A.pdf
7 | C0603C105K3RAC7867 | KEMET | CAP CER 1UF 25V X7R 0603 | C0603C105K3RACTU | 50 | 1 | 50 | $0.25 | $12.34 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://connect.kemet.com:7667/gateway/IntelliData-ComponentDocumentation/1.0/download/datasheet/C0603C105K3RACTU
8 | GRM033R61A104KE15J | Murata Electronics | CAP CER 0.1UF 10V X5R 0201 |  | 50 | 1 | 50 | $0.26 | $13.13 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM033R61A104KE15-01A.pdf
9 | CL05A105KO5NNNC | Samsung Electro-Mechanics | CAP CER 1UF 16V X5R 0402 |  | 50 | 1 | 50 | $0.32 | $15.93 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://media.digikey.com/pdf/Data%20Sheets/Samsung%20PDFs/CL05A105KO5NNNC_Spec_5-2-19.pdf
10 | C0603X7R1A103K030BA | TDK Corporation | CAP CER 10000PF 10V X7R 0201 |  | 50 | 1 | 50 | $0.32 | $15.93 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
11 | SFH 7016 | ams-OSRAM USA INC. | CHIP LED |  | 50 | 1 | 50 | $2.50 | $125.13 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://dammedia.osram.info/media/resource/hires/osram-dam-16417795/SFH%207016_EN.pdf
12 | 1981061-1 | TE Connectivity AMP Connectors | CONN SPRING BATTERY 3POS R/A SMD |  | 50 | 1 | 50 | $4.22 | $210.88 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.te.com/usa-en/product-1981061-1.datasheet.pdf
13 | 10061122-251120HLF | Amphenol ICC (FCI) | CONN FPC BOTTOM 25POS 0.3MM R/A | End of Life | 50 | 1 | 50 | $0.74 | $37.01 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.amphenol-cs.com/media/wysiwyg/files/drawing/10061122.pdf
14 | CRCW02010000Z0ED | Vishay Dale | RES SMD 0 OHM JUMPER 1/20W 0201 |  | 50 | 5 | 250 | $0.07 | $17.06 | 250 | 7 Days | USA | FCA MIA | NET 30 | https://www.vishay.com/docs/20052/crcw0201e3.pdf
15 | ERJ-2GE0R00X | Panasonic Electronic Components | RES SMD 0 OHM JUMPER 1/10W 0402 |  | 50 | 5 | 250 | $0.05 | $13.13 | 250 | 7 Days | USA | FCA MIA | NET 30 | https://industrial.panasonic.com/ww/products/pt/general-purpose-chip-resistors/models/ERJ2GE0R00X
16 | ERJ-2RKF1002X | Panasonic Electronic Components | RES SMD 10K OHM 1% 1/10W 0402 |  | 50 | 2 | 100 | $0.14 | $13.65 | 100 | 7 Days | USA | FCA MIA | NET 30 | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
17 | ERJ-2RKF1003X | Panasonic Electronic Components | RES SMD 100K OHM 1% 1/10W 0402 |  | 50 | 1 | 50 | $0.27 | $13.74 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
18 | MAX86176ENX+T | Analog Devices Inc./Maxim Integrated | PPG + ECG COMBO AFE |  | 50 | 1 | 50 | $17.97 | $898.63 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://br.mouser.com/ProductDetail/Analog-Devices-Maxim-Integrated/MAX86176ENX%2bT?qs=81r%252BiQLm7BSTr%2FxxCB0Bvg%3D%3D
19 | VEMD8080 | Vishay Semiconductor Opto Division | PHOTODIODE 780 TO 1050 NM |  | 50 | 3 | 150 | $2.04 | $306.08 | 150 | 7 Days | USA | FCA MIA | NET 30 | https://www.vishay.com/docs/84565/vemd8080.pdf
20 | LIS2DS12TR | STMicroelectronics | ACCEL 2-16G I2C/SPI 12LGA |  | 50 | 1 | 50 | $3.22 | $161.00 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.st.com/content/ccc/resource/technical/document/datasheet/ce/32/55/ac/e1/87/46/84/DM00177048.pdf/files/DM00177048.pdf/jcr:content/translations/en.DM00177048.pdf
21 | SIT1572AI-J3-18E-DCC-32.768E | SiTime | MEMS OSC XO 32.7680KHZ LVCMOS |  | 50 | 1 | 50 | $1.44 | $72.10 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.sitime.com/datasheet/SiT1572
22 | 2450AT18D0100001E | Johanson Technology Inc. | RF ANT 2.4GHZ CHIP SOLDER SMD |  | 50 | 1 | 50 | $1.17 | $58.63 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.johansontechnology.com/datasheets/2450AT18D0100/2450AT18D0100.pdf
23 | C1005X7R1H104K050BB | TDK Corporation | CAP CER 0.1UF 50V X7R 0402 |  | 50 | 1 | 50 | $0.32 | $16.01 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
24 | C1005X5R1V225K050BC | TDK Corporation | CAP CER 2.2UF 35V X5R 0402 |  | 50 | 1 | 50 | $0.50 | $24.94 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
25 | C1005X5R0J475K050BC | TDK Corporation | CAP CER 4.7UF 6.3V X5R 0402 |  | 50 | 4 | 200 | $0.26 | $52.15 | 200 | 7 Days | USA | FCA MIA | NET 30 | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
26 | C1005X5R0J225K050BC | TDK Corporation | CAP CER 2.2UF 6.3V X5R 0402 |  | 50 | 1 | 50 | $0.38 | $18.90 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
27 | GRM0335C1H160JA01D | Murata Electronics | CAP CER 16PF 50V C0G/NP0 0201 |  | 50 | 2 | 100 | $0.13 | $13.13 | 100 | 7 Days | USA | FCA MIA | NET 30 | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM0335C1H160JA01-01.pdf
28 | GRM188R61E106MA73J | Murata Electronics | CAP CER 10UF 25V X5R 0603 |  | 50 | 7 | 350 | $0.14 | $50.23 | 350 | 7 Days | USA | FCA MIA | NET 30 | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM188R61E106MA73-01.pdf
29 | GRM033R61A105ME15J | Murata Electronics | CAP CER MLCC |  | 50 | 3 | 150 | $0.25 | $37.01 | 150 | 7 Days | USA | FCA MIA | NET 30
30 | GRM033C71C104KE14J | Murata Electronics | CAP CER 0.1UF 16V X7S 0201 |  | 50 | 7 | 350 | $0.05 | $17.76 | 350 | 7 Days | USA | FCA MIA | NET 30 | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM033C71C104KE14-01A.pdf
31 | GRM21BR61A476ME15K | Murata Electronics | CAP CER 47UF 10V X5R 0805 |  | 50 | 1 | 50 | $0.83 | $41.48 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://media.digikey.com/pdf/Data%20Sheets/Murata%20PDFs/Chip_Multilayer_CC_CAT.pdf
32 | GRM033R61E472MA12D | Murata Electronics | CAP CER 4700PF 25V X5R 0201 |  | 50 | 1 | 50 | $0.26 | $12.78 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM033R61E472MA12-01.pdf
33 | C0402C105K8PAC7867 | KEMET | CAP CER 1UF 10V X5R 0402 | C0402C105K8PACTU | 50 | 14 | 700 | $0.06 | $41.65 | 700 | 7 Days | USA | FCA MIA | NET 30 | https://connect.kemet.com:7667/gateway/IntelliData-ComponentDocumentation/1.0/download/datasheet/C0402C105K8PACTU
34 | CL10A226MO7JZNC | Samsung Electro-Mechanics | CAP CER 22UF 16V X5R 0603 |  | 50 | 7 | 350 | $0.53 | $184.36 | 350 | 7 Days | USA | FCA MIA | NET 30 | https://media.digikey.com/pdf/Data%20Sheets/Samsung%20PDFs/CL10A226MO7JZNC_Spec.pdf
35 | GRM033C81A105ME05D | Murata Electronics | CAP CER 1UF 10V X6S 0201 |  | 50 | 3 | 150 | $0.27 | $39.90 | 150 | 7 Days | USA | FCA MIA | NET 30 | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM033C81A105ME05-01.pdf
36 | GRM033R71A472KA01D | Murata Electronics | CAP CER 4700PF 10V X7R 0201 |  | 50 | 1 | 50 | $0.26 | $12.78 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM033R71A472KA01-01.pdf
37 | GRM033R61C104KE14D | Murata Electronics | CAP CER 0.1UF 16V X5R 0201 |  | 50 | 5 | 250 | $0.07 | $17.06 | 250 | 7 Days | USA | FCA MIA | NET 30 | https://search.murata.co.jp/Ceramy/image/img/A01X/G101/ENG/GRM033R61C104KE14-01.pdf
38 | C1005X5R1V105K050BC | TDK Corporation | CAP CER 1UF 35V X5R 0402 |  | 50 | 1 | 50 | $0.37 | $18.29 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
39 | C0603X5R1E104M030BB | TDK Corporation | CAP CER 0.1UF 25V X5R 0201 |  | 50 | 1 | 50 | $0.31 | $15.58 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
40 | KGM05AR51E103KH | KYOCERA AVX | CAP CER 10000PF 25V X5R 0402 |  | 50 | 1 | 50 | $0.46 | $22.75 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://datasheets.kyocera-avx.com/cx5r.pdf
41 | C0603X5R1A104K030BC | TDK Corporation | CAP CER 0.1UF 10V X5R 0201 |  | 50 | 1 | 50 | $0.30 | $14.96 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://product.tdk.com/system/files/dam/doc/product/capacitor/ceramic/mlcc/catalog/mlcc_commercial_general_en.pdf
42 | APFA2507QBDSEEZGKC | Kingbright | LED RGB CLEAR 4SMD R/A |  | 50 | 1 | 50 | $1.48 | $74.03 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.KingbrightUSA.com/images/catalog/SPEC/APFA2507QBDSEEZGKC.pdf
43 | SML-LX0404SIUPGUSB | Lumex Opto/Components Inc. | LED RGB CLEAR SMD |  | 50 | 1 | 50 | $1.53 | $76.30 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://media.digikey.com/pdf/Data%20Sheets/Lumex%20PDFs/SML-LX0404SIUPGUSB.pdf
44 | TF13BA-6S-0.4SH(800) | Hirose Electric Co Ltd | CONN FPC BOTTOM 6POS 0.4MM R/A |  | 50 | 1 | 50 | $1.55 | $77.26 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.hirose.com/product/download/?distributor=digikey&type=specSheet&lang=en&num=TF13BA-6S-0.4SH(800)
45 | FH26W-25S-0.3SHW(60) | Hirose Electric Co Ltd | CONN FPC BOTTOM 25POS 0.3MM R/A |  | 50 | 1 | 50 | $2.75 | $137.38 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.hirose.com/product/download/?distributor=digikey&type=specSheet&lang=en&num=FH26W-25S-0.3SHW(60)
46 | DX07S024JJ3R1300 | JAE Electronics | CONN RCP USB3.1 TYPEC 24P SMD RA |  | 50 | 1 | 50 | $3.92 | $196.00 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.jae.com/direct/page/generatePDF/?file_nm=DX07S024JJ3R1300.pdf&orientation=portrait&no_cache=0&path=%2Fen%2Fconnectors%2Fseries%2Fdetail%2Fproduct%2Fid%3D66509%26v=2020031910202910099709
47 | DFE201612E-2R2M=P2 | Murata Electronics | FIXED IND 2.2UH 1.8A 116MOHM SMD |  | 50 | 4 | 200 | $0.41 | $81.20 | 200 | 7 Days | USA | FCA MIA | NET 30 | https://search.murata.co.jp/Ceramy/image/img/P02/J(E)TE243A-0006.pdf
48 | MLP2012H2R2MT0S1 | TDK Corporation | FIXED IND 2.2UH 1A 195 MOHM SMD |  | 50 | 1 | 50 | $0.63 | $31.59 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://product.tdk.com/en/system/files?file=dam/doc/product/inductor/inductor/smd/catalog/inductor_commercial_power_mlp2012_en.pdf
49 | BLM21PG221SN1D | Murata Electronics | FERRITE BEAD 220 OHM 0805 1LN |  | 50 | 1 | 50 | $0.36 | $17.76 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.murata.com/en-us/products/en-us/products/productdata/8796738977822/ENFA0005.pdf
50 | HZ1206C202R-10 | Laird-Signal Integrity Products | FERRITE BEAD 2 KOHM 1206 1LN |  | 50 | 1 | 50 | $0.45 | $22.66 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://media.digikey.com/pdf/Data%20Sheets/Laird%20Technologies/Ferrite_EMI_Cable_Cores.pdf
51 | ERJ-2GE0R00X | Panasonic Electronic Components | RES SMD 0 OHM JUMPER 1/10W 0402 |  | 50 | 1 | 50 | $0.05 | $2.63 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://industrial.panasonic.com/ww/products/pt/general-purpose-chip-resistors/models/ERJ2GE0R00X
52 | ERJ-1GNF5101C | Panasonic Electronic Components | RES SMD 5.1K OHM 1% 1/20W 0201 |  | 50 | 2 | 100 | $0.15 | $14.88 | 100 | 7 Days | USA | FCA MIA | NET 30 | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
53 | ERJ-1GNF27R0C | Panasonic Electronic Components | RES SMD 27 OHM 1% 1/20W 0201 |  | 50 | 2 | 100 | $0.15 | $14.88 | 100 | 7 Days | USA | FCA MIA | NET 30 | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
54 | ERJ-1GNF4701C | Panasonic Electronic Components | RES SMD 4.7K OHM 1% 1/20W 0201 |  | 50 | 3 | 150 | $0.11 | $16.01 | 150 | 7 Days | USA | FCA MIA | NET 30 | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
55 | ERJ-2GEJ103X | Panasonic Electronic Components | RES SMD 10K OHM 5% 1/10W 0402 |  | 50 | 1 | 50 | $0.27 | $13.56 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://api.pim.na.industrial.panasonic.com/file_stream/main/fileversion/1242
56 | ERJ-2LWFR010X | Panasonic Electronic Components | RES 0.01 OHM 1% 1/5W 0402 |  | 50 | 1 | 50 | $0.55 | $27.74 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://industrial.panasonic.com/cdbs/www-data/pdf/RDN0000/AOA0000C313.pdf
57 | ERJ-1GNF3301C | Panasonic Electronic Components | RES SMD 3.3K OHM 1% 1/20W 0201 |  | 50 | 4 | 200 | $0.09 | $17.15 | 200 | 7 Days | USA | FCA MIA | NET 30 | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
58 | ERJ-1GNJ103C | Panasonic Electronic Components | RES SMD 10K OHM 5% 1/20W 0201 |  | 50 | 3 | 150 | $0.09 | $14.18 | 150 | 7 Days | USA | FCA MIA | NET 30 | https://api.pim.na.industrial.panasonic.com/file_stream/main/fileversion/1242
59 | ERJ-1GN0R00C | Panasonic Electronic Components | RES SMD 0 OHM JUMPER 1/20W 0201 |  | 50 | 27 | 1350 | $0.02 | $25.99 | 1350 | 7 Days | USA | FCA MIA | NET 30 | https://industrial.panasonic.com/ww/products/pt/general-purpose-chip-resistors/models/ERJ1GN0R00C
60 | ERJ-2RKF1004X | Panasonic Electronic Components | RES SMD 1M OHM 1% 1/10W 0402 |  | 50 | 1 | 50 | $0.28 | $13.83 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
61 | ERJ-1GNF10R0C | Panasonic Electronic Components | RES SMD 10 OHM 1% 1/20W 0201 |  | 50 | 1 | 50 | $0.30 | $14.88 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://industrial.panasonic.com/cdbs/www-data/pdf/RDA0000/AOA0000C304.pdf
62 | CRCW04024K70FKEDHP | Vishay Dale | RES SMD 4.7K OHM 1% 1/5W 0402 |  | 50 | 1 | 50 | $0.40 | $19.95 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.vishay.com/docs/20043/crcwhpe3.pdf
63 | ERJ-2GEJ220X | Panasonic Electronic Components | RES SMD 22 OHM 5% 1/10W 0402 |  | 50 | 1 | 50 | $0.27 | $13.56 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://api.pim.na.industrial.panasonic.com/file_stream/main/fileversion/1242
64 | CRCW040210K0FKEE | Vishay Dale | RES SMD 10K OHM 1% 1/16W 0402 |  | 50 | 7 | 350 | $0.06 | $19.60 | 350 | 7 Days | USA | FCA MIA | NET 30 | https://www.vishay.com/docs/20035/dcrcwe3.pdf
65 | TNPW04021K00BETD | Vishay Dale | RES 1K OHM 0.1% 1/16W 0402 |  | 50 | 3 | 150 | $0.80 | $119.70 | 150 | 7 Days | USA | FCA MIA | NET 30 | https://www.vishay.com/docs/31006/tnpw.pdf
66 | PNM0402E2502BST1 | Vishay Dale Thin Film | RES SMD 25K OHM 0.1% 1/20W 0402 |  | 50 | 1 | 50 | $3.99 | $199.50 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.vishay.com/docs/60057/pnm.pdf
67 | NCP03XH103J05RL | Murata Electronics | THERMISTOR NTC 10KOHM 3380K 0201 |  | 50 | 1 | 50 | $0.48 | $23.89 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://media.digikey.com/pdf/Data Sheets/Murata PDFs/NCP03 Spec.pdf
68 | 434153017835 | Würth Elektronik | SWITCH TACTILE SPST-NO 0.05A 12V |  | 50 | 1 | 50 | $1.30 | $64.75 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.we-online.com/katalog/datasheet/434153017835.pdf
69 | EVP-AA102K | Panasonic Electronic Components | SWITCH TACTILE SPST-NO 0.02A 15V |  | 50 | 1 | 50 | $1.54 | $77.18 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www3.panasonic.biz/ac/cdn/e/control/switch/light-touch/catalog/sw_lt_eng_3529s.pdf
70 | MAX20360FEWZ+T | Analog Devices Inc./Maxim Integrated | EVKIT PART- IC; PMIC WITH ULTRA-LOW IQ REGULATOR | MOQ 2000 - Wait SAMPLE RFQ in progress | 50 | 1 | 50 | $9.97 | $- |  | 10 Days | USA | FCA MIA | NET 30 | https://br.mouser.com/ProductDetail/Analog-Devices-Maxim-Integrated/MAX20360FEWZ%2bT?qs=doiCPypUmgE5qUte5drm%2FA%3D%3D
71 | MAX32670GTL+ | Analog Devices Inc./Maxim Integrated | IC MCU 32BIT 384KB FLASH 40TQFN |  | 50 | 1 | 50 | $6.51 | $325.50 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://datasheets.maximintegrated.com/en/ds/MAX32670.pdf
72 | MX25U51245GZ4I54 | Macronix | IC FLASH 512MBIT SPI/QUAD 8WSON |  | 50 | 1 | 50 | $13.63 | $681.63 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.macronix.com/Lists/Datasheet/Attachments/8410/MX25U51245G,%201.8V,%20512Mb,%20v1.2.pdf
73 | MAX32666GXMBT+ | Analog Devices Inc./Maxim Integrated | IC MCU 32BIT 1MB FLASH 121CTBGA |  | 50 | 1 | 50 | $21.86 | $1,092.88 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.analog.com/media/en/technical-documentation/data-sheets/max32665-max32666.pdf
74 | MAX9062EBS+TG45 | Analog Devices Inc./Maxim Integrated | IC COMPARATOR 1 W/VOLT REF 4UCSP |  | 50 | 2 | 100 | $2.42 | $241.50 | 100 | 7 Days | USA | FCA MIA | NET 30 | https://www.analog.com/media/en/technical-documentation/data-sheets/max9060-max9064.pdf
75 | MAX3207EAUT+T | Analog Devices Inc./Maxim Integrated | TVS DIODE SOT23-6 |  | 50 | 1 | 50 | $2.89 | $144.38 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.analog.com/media/en/technical-documentation/data-sheets/MAX3205E-MAX3208E.pdf
76 | MAX4737EBE+T | Analog Devices Inc./Maxim Integrated | IC SW SPST-NOX4 4.5OHM 16UCSP |  | 50 | 2 | 100 | $6.00 | $600.25 | 100 | 7 Days | USA | FCA MIA | NET 30 | https://www.analog.com/media/en/technical-documentation/data-sheets/MAX4737-MAX4739.pdf
77 | MAX14689EWL+T | Analog Devices Inc./Maxim Integrated | IC SWITCH DPDT X 1 450MOHM 9WLP |  | 50 | 1 | 50 | $4.46 | $223.13 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.analog.com/media/en/technical-documentation/data-sheets/MAX14689.pdf
78 | ABS07-32.768KHZ-6-T | Abracon LLC | CRYSTAL 32.7680KHZ 6PF SMD |  | 50 | 1 | 50 | $1.29 | $64.40 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://abracon.com/Resonators/ABS07.pdf
79 | FA-20H 32.0000MF12Y-W3 | EPSON | CRYSTAL 32.0000MHZ 12PF SMD |  | 50 | 1 | 50 | $2.26 | $112.88 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://support.epson.biz/td/api/doc_check.php?dl=brief_FA-20H&lang=en
80 | CM1610H32768DZBT | Citizen Finedevice Co Ltd | CRYSTAL 32.7680KHZ 6PF SMD |  | 50 | 1 | 50 | $1.84 | $91.79 | 50 | 7 Days | USA | FCA MIA | NET 30 | http://cfd.citizen.co.jp/cms/cfd/pdf/english/CM1610H_E.pdf
81 | 63048 | EX-POWER | Battery pack 800mAh 04x30x42 | Suggest Local order. | 50 | 1 | 50 | $2.63 | 0 | 50 | 7 Days | BRAZIL | EXW CAMPINAS | NET 30 | http://www.valvolandia.com.br/baterias/li-po/3-7v-800mah-li-po/bateria-3-7v-800mah-li-on-recarregavel-6x30x48mm-com-conector
82 | 150150225 | Molex | Host board to sensor board flex cable |  | 50 | 1 | 50 | $3.45 | $172.38 | 50 | 7 Days | USA | FCA MIA | NET 30 | https://www.digikey.com.br/en/products/detail/molex/0150150225/3467249
$8,352.31
[8 empty] | FOB | $167.05
[8 empty] | est. USD CIF | $267.27
[8 empty] | est. Unit BRL | 1282.92

## EPE Quotation MOQ Full RELL
Index | Manufacture Part Number | Manufacturer Name | Description | PROPOSED ALTERNATIVE | Assembly qty | Quantity per | Purchase Qt. | P QTY Attrition | Unit Price | Pur QTY Attrition Total Price | Total Price |  |  |  |  | SPQ | Lead time @ 28/6 | STD LT | Shipment Origin | Incoterms | Payment terms | Validity |  |  | QTD do Excesso | P QTY Attrition
1 | GRM033C81E104KE14D | Murata Electronics | CAP CER 0.1UF 25V X6S 0201 |  | 50 | 1 | 15000 | 2500 | 0.01 | FALSE | 127.5 |  |  |  |  | 15000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 15 Days |  |  | 12500 | 125
2 | MAX30208CLB+ | Analog Devices Inc./Maxim Integrated | IC TEMP SENSOR |  | 50 | 1 | 2500 | 2080 | 3.52 | FALSE | 8797.5 |  |  |  |  | 2500 | 25 Days | 378 | USA | FCA MIA | NET 30 | 15 Days |  |  | 420 | 1478.4
3 | MAX30208_HSP3_DEMO_B | Analog Devices Inc./Maxim Integrated | PCB:MAX30208_HSP3_DEMO_B | UNABLE TO IDENTIFY | 50 | 1 |  | 2020 |  | TRUE | 0 | [13 empty] | -2020 | 0
4 | GRM188R61E106MA73J | Murata Electronics | CAP CER 10UF 25V X5R 0603 |  | 50 | 5 | 10000 | 20000 | 0.08 | TRUE | 1600 | 2 | 800 | -800 | -1600 | 10000 | 7 Days | 70 | USA | FCA MIA | NET 30 | 15 Days | 9000 | 20000 | 10000 | 800
5 | GRM188R72A104KA35J | Murata Electronics | CAP CER 0.1UF 100V X7R 0603 |  | 50 | 3 | 10000 | 6600 | 0.05 | FALSE | 493 |  |  |  |  | 10000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 15 Days |  |  | 3400 | 170
6 | GRM155R61A106ME11J | Murata Electronics | CAP CER 10UF 10V X5R 0402 | GRM155R61A106ME11D | 50 | 3 | 40000 | 6600 | 0.03 | FALSE | 1088 |  |  |  |  | 40000 | 7 Days | 84 | USA | FCA MIA | NET 30 | 15 Days |  |  | 33400 | 1002
7 | C0603C105K3RAC7867 | KEMET | CAP CER 1UF 25V X7R 0603 | C0603C105K3RACTU | 50 | 1 | 15000 | 2200 | 0.07 | FALSE | 1122 |  |  |  |  | 15000 | 7 Days | 273 | USA | FCA MIA | NET 30 | 15 Days |  |  | 12800 | 896
8 | GRM033R61A104KE15J | Murata Electronics | CAP CER 0.1UF 10V X5R 0201 |  | 50 | 1 | 50000 | 2200 | 0.0034 | FALSE | 170 |  |  |  |  | 50000 | 7 Days | 83 | USA | FCA MIA | NET 30 | 15 Days |  |  | 47800 | 162.52
9 | CL05A105KO5NNNC | Samsung Electro-Mechanics | CAP CER 1UF 16V X5R 0402 |  | 50 | 1 | 10000 | 2200 | 0.01 | FALSE | 119 |  |  |  |  | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 15 Days |  |  | 7800 | 78
10 | C0603X7R1A103K030BA | TDK Corporation | CAP CER 10000PF 10V X7R 0201 |  | 50 | 1 | 15000 | 2200 | 0.02 | FALSE | 280.5 |  |  |  |  | 15000 | 7 Days | 182 | USA | FCA MIA | NET 30 | 15 Days |  |  | 12800 | 256
11 | SFH 7016 | ams-OSRAM USA INC. | CHIP LED |  | 50 | 1 | 3000 | 2200 | 1.24 | FALSE | 3723 |  |  |  |  | 3000 | 7 Days | 112 | USA | FCA MIA | NET 30 | 15 Days |  |  | 800 | 992
12 | 1981061-1 | TE Connectivity AMP Connectors | CONN SPRING BATTERY 3POS R/A SMD |  | 50 | 1 | 400 | 2400 | 3.3 | TRUE | 7920 | 6 | 1320 | -6600 | -39600 | 400 | 7 Days | 112 | USA | FCA MIA | NET 30 | 15 Days |  | 2400 | 2000 | 6600
13 | 10061122-251120HLF | Amphenol ICC (FCI) | CONN FPC BOTTOM 25POS 0.3MM R/A | End of Life | 50 | 1 | 2000 | 4000 | 0.35 | TRUE | 1400 | 2 | 700 | -700 | -1400 | 2000 | 7 Days | 84 | USA | FCA MIA | NET 30 | 15 Days |  | 4000 | 2000 | 700
14 | CRCW02010000Z0ED | Vishay Dale | RES SMD 0 OHM JUMPER 1/20W 0201 |  | 50 | 5 | 10000 | 20000 | 0.01 | TRUE | 200 | 2 | 100 | -100 | -200 | 10000 | 7 Days | 188 | USA | FCA MIA | NET 30 | 15 Days |  | 20000 | 10000 | 100
15 | ERJ-2GE0R00X | Panasonic Electronic Components | RES SMD 0 OHM JUMPER 1/10W 0402 |  | 50 | 5 | 10000 | 20000 | 0.01 | TRUE | 200 | 2 | 100 | -100 | -200 | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 15 Days |  | 20000 | 10000 | 100
16 | ERJ-2RKF1002X | Panasonic Electronic Components | RES SMD 10K OHM 1% 1/10W 0402 |  | 50 | 2 | 10000 | 4400 | 0.01 | FALSE | 68 |  |  |  |  | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 15 Days |  |  | 5600 | 56
17 | ERJ-2RKF1003X | Panasonic Electronic Components | RES SMD 100K OHM 1% 1/10W 0402 |  | 50 | 1 | 10000 | 2200 | 0.01 | FALSE | 68 |  |  |  |  | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 15 Days |  |  | 7800 | 78
18 | MAX86176ENX+T | Analog Devices Inc./Maxim Integrated | PPG + ECG COMBO AFE |  | 50 | 1 | 2500 | 2080 | 12.17 | FALSE | 30430 |  |  |  |  | 2500 | 7 Days | 172 | USA | FCA MIA | NET 30 | 15 Days |  |  | 420 | 5111.4
19 | VEMD8080 | Vishay Semiconductor Opto Division | PHOTODIODE 780 TO 1050 NM |  | 50 | 3 | 5000 | 10000 | 1.44 | TRUE | 14400 | 2 | 7200 | -7200 | -14400 | 5000 | 7 Days | 35 | USA | FCA MIA | NET 30 | 15 Days |  | 10000 | 5000 | 7200
20 | LIS2DS12TR | STMicroelectronics | ACCEL 2-16G I2C/SPI 12LGA |  | 50 | 1 | 8000 | 2200 | 1.7425 | FALSE | 13940 |  |  |  |  | 8000 | 7 Days | 105 | USA | FCA MIA | NET 30 | 15 Days |  |  | 5800 | 10106.5
21 | SIT1572AI-J3-18E-DCC-32.768E | SiTime | MEMS OSC XO 32.7680KHZ LVCMOS |  | 50 | 1 | 1000 | 3000 | 2 | TRUE | 6000 | 3 | 2000 | -4000 | -12000 | 1000 | 7 Days | 42 | USA | FCA MIA | NET 30 | 15 Days |  | 3000 | 2000 | 4000
22 | 2450AT18D0100001E | Johanson Technology Inc. | RF ANT 2.4GHZ CHIP SOLDER SMD |  | 50 | 1 | 3000 | 2200 | 0.44 | FALSE | 1314 |  |  |  |  | 3000 | 7 Days | 70 | USA | FCA MIA | NET 30 | 15 Days |  |  | 800 | 352
23 | C1005X7R1H104K050BB | TDK Corporation | CAP CER 0.1UF 50V X7R 0402 |  | 50 | 1 | 10000 | 2200 | 0.02 | FALSE | 238 |  |  |  |  | 10000 | 7 Days | 210 | USA | FCA MIA | NET 30 | 15 Days |  |  | 7800 | 156
24 | C1005X5R1V225K050BC | TDK Corporation | CAP CER 2.2UF 35V X5R 0402 |  | 50 | 1 | 10000 | 2200 | 0.09 | FALSE | 935 |  |  |  |  | 10000 | 7 Days | 168 | USA | FCA MIA | NET 30 | 15 Days |  |  | 7800 | 702
25 | C1005X5R0J475K050BC | TDK Corporation | CAP CER 4.7UF 6.3V X5R 0402 |  | 50 | 4 | 10000 | 8800 | 0.13 | FALSE | 1275 |  |  |  |  | 10000 | 7 Days | 168 | USA | FCA MIA | NET 30 | 15 Days |  |  | 1200 | 156
26 | C1005X5R0J225K050BC | TDK Corporation | CAP CER 2.2UF 6.3V X5R 0402 |  | 50 | 1 | 10000 | 2200 | 0.05 | FALSE | 510 |  |  |  |  | 10000 | 7 Days | 252 | USA | FCA MIA | NET 30 | 15 Days |  |  | 7800 | 390
27 | GRM0335C1H160JA01D | Murata Electronics | CAP CER 16PF 50V C0G/NP0 0201 |  | 50 | 2 | 15000 | 4400 | 0.0034 | FALSE | 51 |  |  |  |  | 15000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 15 Days |  |  | 10600 | 36.04
28 | GRM188R61E106MA73J | Murata Electronics | CAP CER 10UF 25V X5R 0603 |  | 50 | 7 | 10000 | 20000 | 0.08 | TRUE | 1600 | 2 | 800 | -800 | -1600 | 10000 | 7 Days | 70 | USA | FCA MIA | NET 30 | 15 Days |  | 20000 | 10000 | 800
29 | GRM033R61A105ME15J | Murata Electronics | CAP CER MLCC |  | 50 | 3 | 50000 | 6600 | 0.1 | FALSE | 4930 |  |  |  |  | 50000 | 7 Days | 134 | USA | FCA MIA | NET 30 | 15 Days |  |  | 43400 | 4340
30 | GRM033C71C104KE14J | Murata Electronics | CAP CER 0.1UF 16V X7S 0201 |  | 50 | 7 | 50000 | 15400 | 0.01 | FALSE | 340 |  |  |  |  | 50000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 15 Days |  |  | 34600 | 346
31 | GRM21BR61A476ME15K | Murata Electronics | CAP CER 47UF 10V X5R 0805 |  | 50 | 1 | 10000 | 2200 | 0.25 | FALSE | 2499 |  |  |  |  | 10000 | 7 Days | 112 | USA | FCA MIA | NET 30 | 15 Days |  |  | 7800 | 1950
32 | GRM033R61E472MA12D | Murata Electronics | CAP CER 4700PF 25V X5R 0201 |  | 50 | 1 | 15000 | 2200 | 0.0034 | FALSE | 51 |  |  |  |  | 15000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 15 Days |  |  | 12800 | 43.52
33 | C0402C105K8PAC7867 | KEMET | CAP CER 1UF 10V X5R 0402 | C0402C105K8PACTU | 50 | 14 | 50000 | 22000 | 0.02 | FALSE | 935 |  |  |  |  | 50000 | 7 Days | 252 | USA | FCA MIA | NET 30 | 15 Days |  |  | 28000 | 560
34 | CL10A226MO7JZNC | Samsung Electro-Mechanics | CAP CER 22UF 16V X5R 0603 |  | 50 | 7 | 4000 | 16000 | 0.28 | TRUE | 4480 | 4 | 1120 | -3360 | -13440 | 4000 | 7 Days | 142 | USA | FCA MIA | NET 30 | 15 Days |  | 16000 | 12000 | 3360
35 | GRM033C81A105ME05D | Murata Electronics | CAP CER 1UF 10V X6S 0201 |  | 50 | 3 | 15000 | 6600 | 0.11 | FALSE | 1683 |  |  |  |  | 15000 | 7 Days | 112 | USA | FCA MIA | NET 30 | 15 Days |  |  | 8400 | 924
36 | GRM033R71A472KA01D | Murata Electronics | CAP CER 4700PF 10V X7R 0201 |  | 50 | 1 | 15000 | 2200 | 0.0034 | FALSE | 51 |  |  |  |  | 15000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 15 Days |  |  | 12800 | 43.52
37 | GRM033R61C104KE14D | Murata Electronics | CAP CER 0.1UF 16V X5R 0201 |  | 50 | 5 | 15000 | 4400 | 0.01 | FALSE | 127.5 |  |  |  |  | 15000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 15 Days |  |  | 10600 | 106
38 | C1005X5R1V105K050BC | TDK Corporation | CAP CER 1UF 35V X5R 0402 |  | 50 | 1 | 10000 | 2200 | 0.04 | FALSE | 442 |  |  |  |  | 10000 | 7 Days | 196 | USA | FCA MIA | NET 30 | 15 Days |  |  | 7800 | 312
39 | C0603X5R1E104M030BB | TDK Corporation | CAP CER 0.1UF 25V X5R 0201 |  | 50 | 1 | 15000 | 2200 | 0.02 | FALSE | 306 |  |  |  |  | 15000 | 7 Days | 98 | USA | FCA MIA | NET 30 | 15 Days |  |  | 12800 | 256
40 | KGM05AR51E103KH | KYOCERA AVX | CAP CER 10000PF 25V X5R 0402 |  | 50 | 1 | 10000 | 2200 | 0.09 | FALSE | 850 |  |  |  |  | 10000 | 7 Days | 84 | USA | FCA MIA | NET 30 | 15 Days |  |  | 7800 | 702
41 | C0603X5R1A104K030BC | TDK Corporation | CAP CER 0.1UF 10V X5R 0201 |  | 50 | 1 | 15000 | 2200 | 0.02 | FALSE | 229.5 |  |  |  |  | 15000 | 7 Days | 182 | USA | FCA MIA | NET 30 | 15 Days |  |  | 12800 | 256
42 | APFA2507QBDSEEZGKC | Kingbright | LED RGB CLEAR 4SMD R/A |  | 50 | 1 | 3000 | 2200 | 0.54 | FALSE | 1611.6 |  |  |  |  | 3000 | 7 Days | 59 | USA | FCA MIA | NET 30 | 15 Days |  |  | 800 | 432
43 | SML-LX0404SIUPGUSB | Lumex Opto/Components Inc. | LED RGB CLEAR SMD |  | 50 | 1 | 2000 | 4000 | 0.69 | TRUE | 2760 | 2 | 1380 | -1380 | -2760 | 2000 | 7 Days | 154 | USA | FCA MIA | NET 30 | 15 Days |  | 4000 | 2000 | 1380
44 | TF13BA-6S-0.4SH(800) | Hirose Electric Co Ltd | CONN FPC BOTTOM 6POS 0.4MM R/A |  | 50 | 1 | 5000 | 2200 | 0.91 | FALSE | 4564.5 |  |  |  |  | 5000 | 7 Days | 196 | USA | FCA MIA | NET 30 | 15 Days |  |  | 2800 | 2548
45 | FH26W-25S-0.3SHW(60) | Hirose Electric Co Ltd | CONN FPC BOTTOM 25POS 0.3MM R/A |  | 50 | 1 | 5000 | 2080 | 1.51 | FALSE | 7531 |  |  |  |  | 5000 | 7 Days | 196 | USA | FCA MIA | NET 30 | 15 Days |  |  | 2920 | 4409.2
46 | DX07S024JJ3R1300 | JAE Electronics | CONN RCP USB3.1 TYPEC 24P SMD RA |  | 50 | 1 | 1300 | 2600 | 2.47 | TRUE | 6422 | 2 | 3211 | -3211 | -6422 | 1300 | 7 Days | 72 | USA | FCA MIA | NET 30 | 15 Days |  | 2600 | 1300 | 3211
47 | DFE201612E-2R2M=P2 | Murata Electronics | FIXED IND 2.2UH 1.8A 116MOHM SMD |  | 50 | 4 | 3000 | 9000 | 0.21 | TRUE | 1890 | 3 | 630 | -1260 | -3780 | 3000 | 7 Days | 84 | USA | FCA MIA | NET 30 | 15 Days |  | 9000 | 6000 | 1260
48 | MLP2012H2R2MT0S1 | TDK Corporation | FIXED IND 2.2UH 1A 195 MOHM SMD |  | 50 | 1 | 4000 | 2200 | 0.2 | FALSE | 809.2 |  |  |  |  | 4000 | 7 Days | 280 | USA | FCA MIA | NET 30 | 15 Days |  |  | 1800 | 360
49 | BLM21PG221SN1D | Murata Electronics | FERRITE BEAD 220 OHM 0805 1LN |  | 50 | 1 | 4000 | 2200 | 0.05 | FALSE | 190.4 |  |  |  |  | 4000 | 7 Days | 112 | USA | FCA MIA | NET 30 | 15 Days |  |  | 1800 | 90
50 | HZ1206C202R-10 | Laird-Signal Integrity Products | FERRITE BEAD 2 KOHM 1206 1LN |  | 50 | 1 | 3000 | 2200 | 0.12 | FALSE | 351.9 |  |  |  |  | 3000 | 7 Days | 91 | USA | FCA MIA | NET 30 | 15 Days |  |  | 800 | 96
51 | ERJ-2GE0R00X | Panasonic Electronic Components | RES SMD 0 OHM JUMPER 1/10W 0402 |  | 50 | 1 | 10000 | 20000 | 0.01 | TRUE | 200 | 2 | 100 | -100 | -200 | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 15 Days |  | 20000 | 10000 | 100
52 | ERJ-1GNF5101C | Panasonic Electronic Components | RES SMD 5.1K OHM 1% 1/20W 0201 |  | 50 | 2 | 15000 | 4400 | 0.01 | FALSE | 153 |  |  |  |  | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 15 Days |  |  | 10600 | 106
53 | ERJ-1GNF27R0C | Panasonic Electronic Components | RES SMD 27 OHM 1% 1/20W 0201 |  | 50 | 2 | 15000 | 4400 | 0.01 | FALSE | 153 |  |  |  |  | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 15 Days |  |  | 10600 | 106
54 | ERJ-1GNF4701C | Panasonic Electronic Components | RES SMD 4.7K OHM 1% 1/20W 0201 |  | 50 | 3 | 15000 | 6600 | 0.01 | FALSE | 153 |  |  |  |  | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 15 Days |  |  | 8400 | 84
55 | ERJ-2GEJ103X | Panasonic Electronic Components | RES SMD 10K OHM 5% 1/10W 0402 |  | 50 | 1 | 10000 | 2200 | 0.01 | FALSE | 68 |  |  |  |  | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 15 Days |  |  | 7800 | 78
56 | ERJ-2LWFR010X | Panasonic Electronic Components | RES 0.01 OHM 1% 1/5W 0402 |  | 50 | 1 | 30000 | 2200 | 0.08 | FALSE | 2499 |  |  |  |  | 30000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 15 Days |  |  | 27800 | 2224
57 | ERJ-1GNF3301C | Panasonic Electronic Components | RES SMD 3.3K OHM 1% 1/20W 0201 |  | 50 | 4 | 15000 | 6600 | 0.01 | FALSE | 153 |  |  |  |  | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 15 Days |  |  | 8400 | 84
58 | ERJ-1GNJ103C | Panasonic Electronic Components | RES SMD 10K OHM 5% 1/20W 0201 |  | 50 | 3 | 15000 | 6600 | 0.01 | FALSE | 76.5 |  |  |  |  | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 15 Days |  |  | 8400 | 84
59 | ERJ-1GN0R00C | Panasonic Electronic Components | RES SMD 0 OHM JUMPER 1/20W 0201 |  | 50 | 27 | 15000 | 45000 | 0.01 | TRUE | 450 | 3 | 150 | -300 | -900 | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 15 Days |  | 45000 | 30000 | 300
60 | ERJ-2RKF1004X | Panasonic Electronic Components | RES SMD 1M OHM 1% 1/10W 0402 |  | 50 | 1 | 10000 | 2200 | 0.01 | FALSE | 68 |  |  |  |  | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 15 Days |  |  | 7800 | 78
61 | ERJ-1GNF10R0C | Panasonic Electronic Components | RES SMD 10 OHM 1% 1/20W 0201 |  | 50 | 1 | 15000 | 2200 | 0.01 | FALSE | 127.5 |  |  |  |  | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 15 Days |  |  | 12800 | 128
62 | CRCW04024K70FKEDHP | Vishay Dale | RES SMD 4.7K OHM 1% 1/5W 0402 |  | 50 | 1 | 10000 | 2200 | 0.02 | FALSE | 204 |  |  |  |  | 10000 | 7 Days | 280 | USA | FCA MIA | NET 30 | 15 Days |  |  | 7800 | 156
63 | ERJ-2GEJ220X | Panasonic Electronic Components | RES SMD 22 OHM 5% 1/10W 0402 |  | 50 | 1 | 10000 | 2200 | 0.01 | FALSE | 68 |  |  |  |  | 10000 | 7 Days | 140 | USA | FCA MIA | NET 30 | 15 Days |  |  | 7800 | 78
64 | CRCW040210K0FKEE | Vishay Dale | RES SMD 10K OHM 1% 1/16W 0402 |  | 50 | 7 | 50000 | 11000 | 0.01 | FALSE | 340 |  |  |  |  | 50000 | 7 Days | 245 | USA | FCA MIA | NET 30 | 15 Days |  |  | 39000 | 390
65 | TNPW04021K00BETD | Vishay Dale | RES 1K OHM 0.1% 1/16W 0402 |  | 50 | 3 | 10000 | 4400 | 0.44 | FALSE | 4386 |  |  |  |  | 10000 | 7 Days | 121 | USA | FCA MIA | NET 30 | 15 Days |  |  | 5600 | 2464
66 | PNM0402E2502BST1 | Vishay Dale Thin Film | RES SMD 25K OHM 0.1% 1/20W 0402 |  | 50 | 1 | 1000 | 3000 | 1.72 | TRUE | 5160 | 3 | 1720 | -3440 | -10320 | 1000 | 7 Days | 641 | USA | FCA MIA | NET 30 | 15 Days |  | 3000 | 2000 | 3440
67 | NCP03XH103J05RL | Murata Electronics | THERMISTOR NTC 10KOHM 3380K 0201 |  | 50 | 1 | 15000 | 2600 | 0.1 | FALSE | 1530 |  |  |  |  | 15000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 15 Days |  |  | 12400 | 1240
68 | 434153017835 | Würth Elektronik | SWITCH TACTILE SPST-NO 0.05A 12V |  | 50 | 1 | 4000 | 2200 | 0.6 | FALSE | 2414 |  |  |  |  | 4000 | 7 Days | 175 | USA | FCA MIA | NET 30 | 15 Days |  |  | 1800 | 1080
69 | EVP-AA102K | Panasonic Electronic Components | SWITCH TACTILE SPST-NO 0.02A 15V |  | 50 | 1 | 5000 | 2200 | 0.74 | FALSE | 3714.5 |  |  |  |  | 5000 | 7 Days | 168 | USA | FCA MIA | NET 30 | 15 Days |  |  | 2800 | 2072
70 | MAX20360FEWZ+T | Analog Devices Inc./Maxim Integrated | EVKIT PART- IC; PMIC WITH ULTRA-LOW IQ REGULATOR |  | 50 | 1 | 2000 | 4000 | 9 | TRUE | 36000 | 2 | 18000 | -18000 | -36000 | 2000 | 10 Days | 168 | USA | FCA MIA | NET 30 | 15 Days |  | 4000 | 2000 | 18000
71 | MAX32670GTL+ | Analog Devices Inc./Maxim Integrated | IC MCU 32BIT 384KB FLASH 40TQFN |  | 50 | 1 | 490 | 2450 | 4.508 | TRUE | 11044.6 | 5 | 2208.92 | -8835.68 | -44178.4 | 490 | 7 Days | 64 | USA | FCA MIA | NET 30 | 15 Days |  | 2450 | 1960 | 8835.68
72 | MX25U51245GZ4I54 | Macronix | IC FLASH 512MBIT SPI/QUAD 8WSON |  | 50 | 1 | 480 | 2400 | 9.786 | TRUE | 23486.4 | 5 | 4697.28 | -18789.12 | -93945.6 | 480 | 7 Days | 72 | USA | FCA MIA | NET 30 | 15 Days |  | 2400 | 1920 | 18789.12
73 | MAX32666GXMBT+ | Analog Devices Inc./Maxim Integrated | IC MCU 32BIT 1MB FLASH 121CTBGA |  | 50 | 1 | 348 | 2436 | 15.554 | TRUE | 37889.544 | 7 | 5412.792 | -32476.752 | -227337.264 | 348 | 7 Days | 210 | USA | FCA MIA | NET 30 | 15 Days |  | 2436 | 2088 | 32476.752
74 | MAX9062EBS+TG45 | Analog Devices Inc./Maxim Integrated | IC COMPARATOR 1 W/VOLT REF 4UCSP |  | 50 | 2 | 2500 | 5000 | 1.56 | TRUE | 7800 | 2 | 3900 | -3900 | -7800 | 2500 | 7 Days | 18 | USA | FCA MIA | NET 30 | 15 Days |  | 5000 | 2500 | 3900
75 | MAX3207EAUT+T | Analog Devices Inc./Maxim Integrated | TVS DIODE SOT23-6 |  | 50 | 1 | 2500 | 2120 | 1.43 | FALSE | 3565.75 |  |  |  |  | 2500 | 7 Days | 72 | USA | FCA MIA | NET 30 | 15 Days |  |  | 380 | 543.4
76 | MAX4737EBE+T | Analog Devices Inc./Maxim Integrated | IC SW SPST-NOX4 4.5OHM 16UCSP |  | 50 | 2 | 2500 | 5000 | 4.37 | TRUE | 21850 | 2 | 10925 | -10925 | -21850 | 2500 | 7 Days | 84 | USA | FCA MIA | NET 30 | 15 Days |  | 5000 | 2500 | 10925
77 | MAX14689EWL+T | Analog Devices Inc./Maxim Integrated | IC SWITCH DPDT X 1 450MOHM 9WLP |  | 50 | 1 | 2500 | 2200 | 2.64 | FALSE | 6587.5 |  |  |  |  | 2500 | 7 Days | 17 | USA | FCA MIA | NET 30 | 15 Days |  |  | 300 | 792
78 | ABS07-32.768KHZ-6-T | Abracon LLC | CRYSTAL 32.7680KHZ 6PF SMD |  | 50 | 1 | 3000 | 2200 | 0.68 | FALSE | 2050.2 |  |  |  |  | 3000 | 7 Days | 126 | USA | FCA MIA | NET 30 | 15 Days |  |  | 800 | 544
79 | FA-20H 32.0000MF12Y-W3 | EPSON | CRYSTAL 32.0000MHZ 12PF SMD |  | 50 | 1 | 250 | 2250 | 1.65 | TRUE | 3712.5 | 9 | 412.5 | -3300 | -29700 | 250 | 7 Days | 158 | USA | FCA MIA | NET 30 | 15 Days |  | 2250 | 2000 | 3300
80 | CM1610H32768DZBT | Citizen Finedevice Co Ltd | CRYSTAL 32.7680KHZ 6PF SMD |  | 50 | 1 | 5000 | 2200 | 1 | FALSE | 5000 |  |  |  |  | 5000 | 7 Days | 77 | USA | FCA MIA | NET 30 | 15 Days |  |  | 2800 | 2800
81 | 63048 | EX-POWER | Battery pack 800mAh 04x30x42 | Suggest Local order. | 50 | 1 | 50 | 2100 | 0 | TRUE | 0 | 42 | 0 | 0 | 0 | 50 | 7 Days | 140 | BRAZIL | EXW CAMPINAS | NET 30 | 15 Days |  | 2100 | 2050 | 0
82 | 150150225 | Molex | Host board to sensor board flex cable |  | 50 | 1 | 1000 | 3000 | 2.16 | TRUE | 6480 | 3 | 2160 | -4320 | -12960 | 1000 | 7 Days | 57 | USA | FCA MIA | NET 30 | 15 Days |  | 3000 | 2000 | 4320
328508.094
[9 empty] | FOB |  | 164.254
[9 empty] | est. USD CIF |  | 262.8065
[9 empty] | est. Unit BRL |  | 1261.4711
Note on J11: renanalmeida: I calculate the estimated unit price

## Resume
| Suppliers | [7 empty] | EPE 2000 + Attrition | EPE- With MOQ
| DigiKey | EPE 200 | EPE 200 - With MOQ |  | Best Scenario
[8 empty] | Price | 270868.782 | 328508.094
Wo/ Attrion | 36964.97 | 53690 | $206,132.88 |  |  |  |  | Fob | 135.4344 | 164.254
Fob | 184.8248 | 268.45 | $4,122.66 |  | DigiKey | EPE 200 | Saving
MOQ Excess
|  |  |  | Qty. PN | 69 items | 15 items
W/ Attrition | 63466.768 | 67286.25 | - | PN Cost | 46804.537 | 5826.3 | 10835.931 |  |  | 189107.052
Fob | 317.3338 | 336.4312 | - | Fob | 234.0227 | 29.1315 | 54.1797
|  |  |  | Total | 52893.9912 |  | 10890.1107
Excess Cost - due to Digikey's MOQ
|  |  |  | Qty. PN | 7 items
|  |  |  | PN Cost | 14761.74
|  |  |  | Fob | 73.8087
|  |  |  | Total Excess Cost | 14835.5487